## Report Working
Medium | Volume of water added (ml) | Measurement obtained |  |  | Range of measurement (max-min) | Repeatability (% of full span) | for terminal points/Nonlinearity : | inputs | outputs
|  | 1 | 2 | 3 |  |  |  | 0 | 3521.83
Dry | 0 | 0.08 | 0.02 | -0.08 | 0.16 | 0.26667 |  | 5 | 3387.7
| 5 | 5.17 | 4.98 | 5.08 | 0.19 | 0.31667 |  | 10 | 3178.18
| 10 | 10.08 | 9.97 | 10.17 | 0.2 | 0.33333 |  | 15 | 2967.03
Damp | 20 | 19.96 | 20.24 | 20.04 | 0.28 | 0.46667 |  | 20 | 2762.3
| 30 | 30.08 | 29.94 | 30.16 | 0.22 | 0.36667 |  | 25 | 2499.55
| 40 | 40.19 | 40.07 | 39.88 | 0.31 | 0.51667 |  | 30 | 2340.33
Wet | 50 | 50.06 | 50.08 | 49.79 | 0.29 | 0.48333 |  | 35 | 2087.68
| 55 | 54.81 | 54.92 | 55.18 | 0.37 | 0.61667 |  | 40 | 1945.88
| 60 | 60.61 | 60.18 | 60.33 | 0.43 | 0.71667 |  | 45 | 1743.98
[5 empty] | maximum value | 0.71667 |  | 50 | 1583.85
[5 empty] | average | 0.4537 |  | 55 | 1445
[8 empty] | 60 | 1260.38
Thank you shereen....
[8 empty] | Question 7 | What is the sensor's non-linearity? (Aka what is the sensor's linearity?)
[9 empty] | Step 1: Consolidate the Data by finding the mean of each row of outputs |  | Mean Of Outputs | Best Line Output | Absolute Deviation
[9 empty] | Finding the mean of each row of outputs will help when trying to do the rest of the calculations. | End 1 Value: | 3521.83 | 3521.83 | 0
[9 empty] | Step 2: Using Terminal Point Method |  | 3387.7 | 3333.3758 | 54.3242
[9 empty] | Terminal Point Method is where we draw a straight line which connects the end to end outputs |  | 3178.18 | 3144.9217 | 33.2583
[9 empty] | This means we take the value of f(x) when x = 0 and x = 2, and then use this to draw a line. |  | 2967.03 | 2956.4675 | 10.5625
[9 empty] | Step 3: Drawing the Line |  | 2762.3 | 2768.0133 | 5.7133
[9 empty] | To obtain the line's equation, find the gradient. Using m = (y2 - y1) / (x2 - x1) |  | 2499.55 | 2579.5592 | 80.0092
[9 empty] | Then find the y-intercept. |  | 2340.33 | 2391.105 | 50.775
[9 empty] | Now construct the y = mx + c equation. |  | 2087.68 | 2202.6508 | 114.9708
[9 empty] | Find the values of y_best_line for the range of values of x. |  | 1945.88 | 2014.1967 | 68.3167
[11 empty] | 1743.98 | 1825.7425
[11 empty] | 1583.85 | 1637.2883
[9 empty] | Draw the line. |  | 1445 | 1448.8342 | 3.8342
[9 empty] | Step 4: Find the deviation between the y_mean values and the y_best values. | End 2 Value: | 1260.38 | 1260.38 | 0
Take the absolute for easier comparison.
[9 empty] | Step 5: Find the maximum deviation | Gradient Value: | -37.6908 | Maximum Deviation | 114.9708 | Max Output: | 3521.83
[9 empty] | Step 6: Sub into non-linearity equation. | Y-Intercept: | 3521.83 |  |  | Non-linearity: | 3.2645
As per malaysian slides, linearity % = (Max Deviation) / (Maximum Output) * 100
[8 empty] | Question 8.1 | What is the sensor's Full Scale Input in units of the measurand?
[9 empty] | Full Scale Input means the full range which the inputs can go. | Max Input Value | 50
[9 empty] | This means we find the minimum x input value and the maximum x input value. | Min Input Value | 0
[9 empty] | Then we find the range between the two, and that'll be the answer in units of the measurand, | Difference: | 50 | Full Scale Input
Step 1: Find the minimum input value and the maximum input value.
Step 2: Find the range between the two.
[8 empty] | Question 8.2 | What is the sensor's Full Scale Output in units of the measurand?
[9 empty] | Full Scale Output means the full possible range which the outputs can go. | Max Value | 3521.83 | From Raw
[9 empty] | This means we take the raw y values, and find the minimum and maximum values. | Min Output | 1583.85 | From Raw
[9 empty] | Then we find the range between the two, and that'll be the answer in units of the measurand. | Difference: | 1937.98 | Full Scale Out
Step 1: Find the minimum raw output value across all inputs.
Step 2: Find the maximum raw output value across all inputs.
Step 3: Find the range between the two.
[8 empty] | Question 9 | What is the sensor's maximum sensitivity? |  | Mean Of Outputs | Slope
[9 empty] | Sensitivity represents the slope of the measurements. |  | 704.366 | -5.3652 | Btwn 1 and 2 | Max Slope: | 6.3354
[9 empty] | So in this case, we use the mean y values again, and we calculate the slope between each output and input. (e.g. input 1 vs input 2, input 2 vs input 3) |  | 677.54 | -8.3808 | Btwn 2 and 3
[9 empty] | Then we compare the value of the gradient and find the maximum. |  | 635.636 | -8.446 | Btwn 3 and 4
[9 empty] | The maximum will be denoted as the Maximum Sensitivity. |  | 593.406 | -8.1892 | Btwn 4 and 5
[9 empty] | Step 1: Find the mean y values for each input. |  | 552.46 | -10.51 | Btwn 5 and 6
[9 empty] | Step 2: Calculate the slope between points (meaning input 1 vs input 2; input 2 vs input 3) |  | 499.91 | -6.3688 | Btwn 6 and 7
[9 empty] | Step 3: Compare the value of the slops and find the maximum value. |  | 468.066 | -10.106 | Btwn 7 and 8
[11 empty] | 417.536 | -5.672 | Btwn 8 and 9
[11 empty] | 389.176 | -8.076 | Btwn 9 and 10
[11 empty] | 348.796 | -6.4052 | Btwn 10 and 11
[11 empty] | 316.77 | 6.3354
[8 empty] | Question 10 | What is the sensor's average repeatability as a percentage of full scale (output)? |  | Mean Of Outputs | Max of Row | Min of Row | Range of Max - Min | Divide by Full Scale Output | Multiply 100 for % (Repeatability for each input)
[9 empty] | Repeatability represents the variability of the output of the sensor if given the same input. |  | 704.366 | 3521.83 | 3521.83 | 0 | #DIV/0! | #DIV/0!
[9 empty] | By this definition alone, this means we use the RAW values from the output. |  | 677.54 | 3387.7 | 3387.7 | 0 | #DIV/0! | #DIV/0!
[9 empty] | The formula is given as repeatability = (Maximum output - Minimum Output) / Full Range Outputs * 100 |  | 635.636 | 3178.18 | 3178.18 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Maximum Output means the maximum output of the sensor at that given x value. |  | 593.406 | 2967.03 | 2967.03 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Minumum Output means the minimum output of the sensor at that given x value. |  | 552.46 | 2762.3 | 2762.3 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Full Range of Outputs represents the Full Scale Output of the sensor. |  | 499.91 | 2499.55 | 2499.55 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Step 1: Find the maximum output of each row's raw y value datas. |  | 468.066 | 2340.33 | 2340.33 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Step 2: Find the minimum output of each row's raw y value datas. |  | 417.536 | 2087.68 | 2087.68 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Step 3: Find the difference between the two. |  | 389.176 | 1945.88 | 1945.88 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Step 4: Divide this by the Full Range Output then multiple 100 to get in percentage. |  | 348.796 | 1743.98 | 1743.98 | 0 | #DIV/0! | #DIV/0!
[9 empty] | Step 5: Find the average value. |  | 316.77 | 1583.85 | 1583.85 | 0 | #DIV/0! | #DIV/0!
[14 empty] | Average Repeatability |  | #DIV/0!

## 263 Idealised Data for Report
Volume of Water | Mean ADC | Mean Voltage
0 | 3521.83 | 3.22
5 | 3387.7 | 3.15
10 | 3178.18 | 3.1
15 | 2967.03 | 2.98
20 | 2762.3 | 2.9407
25 | 2499.55 | 2.88
30 | 2340.33 | 2.81
35 | 2087.68 | 2.7267
40 | 1945.88 | 2.68
45 | 1743.98 | 2.622
50 | 1583.85 | 2.5827
55 | 1445 | 2.4717
60 | 1260.38 | 2.41
range of ADC: | 2261.45
highest data deviation: | 81.32 | 3.5959

## 243 Resolution tests
Volume of Water | Pink Cup | Blue
0 |  | Mean ADC Value = 3527.75 | Transfer Function (ADC): ADC = -39.1707 * WaterLevel + 3512.4832
|  | Voltage = 3.09V | Transfer Function (Voltage): Voltage = -0.0132 * WaterLevel + 3.2211
|  | Water Level = -0.39ml | Transfer Function (ADC to Voltage): Voltage = 0.0003 * ADC + 2.0343
The soil is dry
5 |  | Mean ADC Value = 3399.55
|  | Voltage = 3.05V | Resolution of 5ml
Water Level = 2.88ml
The soil is dry
10 | Mean ADC Value = 3279.45 | Mean ADC Value = 3166.55
| Voltage = 3.02V | Voltage = 2.98V
| Water Level = 5.95ml | Water Level = 8.83ml
| The soil is dry | The soil is dry
15 | Mean ADC Value = 2891.60
Voltage = 2.90V
Water Level = 15.85ml
The soil is damp
20 | Mean ADC Value = 2670.65
Voltage = 2.84V
Water Level = 21.49ml
The soil is damp
25 | Mean ADC Value = 2501.70
Voltage = 2.78V
Water Level = 25.80ml
The soil is damp
30 | Mean ADC Value = 2353.95
Voltage = 2.74V
Water Level = 29.58ml
The soil is damp
35 | Mean ADC Value = 2059.25
Voltage = 2.65V
Water Level = 37.10ml
The soil is damp
40 | Mean ADC Value = 1804.25
Voltage = 2.58V
Water Level = 43.61ml
The soil is damp
45 | Mean ADC Value = 1744.35
Voltage = 2.56V
Water Level = 45.14ml
The soil is damp
50 | Mean ADC Value = 1547.60
Voltage = 2.50V
Water Level = 50.16ml
The soil is wet
55 | Mean ADC Value = 1375.40
Voltage = 2.45V
Water Level = 54.56ml
The soil is wet
60 | Mean ADC Value = 1185.25
Voltage = 2.39V
Water Level = 59.41ml
The soil is wet

## 233 Test Round 2
Volume of Water | New ADC
0 | 3513.15
5 | 3330.0679
10 | 3146.9857
15 | 2963.9036
20 | 2850
25 | 2597.7393
30 | 2300
35 | 1967.05
40 | 1715.75
45 | 1650.25
50 | 1682.3286
55 | 1579.05
60 | 1316.1643
65 | 1133.0821
70 | 950
75 | 885.7143
80 | 771.25
85 | 672.45
90 | 643.4
95 | 576.1
100 | 530
Transfer Function (ADC): ADC = -31.2964 * WaterLevel + 3315.9820 Transfer Function (Voltage): Voltage = -0.0092 * WaterLevel + 3.1193 Transfer Function (ADC to Voltage): Voltage = 0.0003 * ADC + 2.1344

## 233 Tests
Volume of Water | Grey | Pink | Notes on waiting time?
0 | Mean ADC Value = 3513.15 | Mean ADC Value = 3516.55 |  | Trasnfer functions used: Transfer Function (ADC): ADC = -27.8214 * WaterLevel + 3230.5158 Transfer Function (Voltage): Voltage = -0.0092 * WaterLevel + 3.1193 Transfer Function (ADC to Voltage): Voltage = 0.0003 * ADC + 2.0427
| Voltage = 3.10V | Voltage = 3.10V
| Water Level = -10.16ml | Water Level = -10.28ml
5 | Mean ADC Value = 3384.30 | Mean ADC Value = 3430.15 | waiting 1 minute brings the ADC down more. Initially 3.4k, then after 1 minute drops to around 3.3k
| Voltage = 3.06V | Voltage = 3.07V
| Water Level = -5.53ml | Water Level = -7.18ml
10 | Mean ADC Value = 3124.40 | Mean ADC Value = 3217.35 | Tending to 3.3k unless u shake a lot |  | Reading when steel in air:
| Voltage = 2.98V | Voltage = 3.01V | U need to shake it + insert ASAP LOL |  | Mean ADC Value = 3514.65, Voltage = 3.10V, Water Level = -10.21ml
| Water Level = 3.81ml | Water Level = 0.47ml
15 | Mean ADC Value = 2897.65 | Mean ADC Value = 3002.35 | After this point, the faster u take the reading, the more accurate the ADC to the readings on 21/3 and readings go up the longer u wait |  | Reading when steel in pure water:
| Voltage = 2.91V | Voltage = 2.94V | For grey - If u take readings continuously, the first round is 2.7, then 2.8, then 2.9 |  | Mean ADC Value = 3514.65, Voltage = 3.10V, Water Level = -10.21ml
| Water Level = 11.96ml | Water Level = 8.20ml | Both readings were taken after immediately putting the sensors into the soil -- otherwise they were tendng to 3.2k |  | Mean ADC Value = 1408.45, Voltage = 2.47V, Water Level = 65.49ml
20 | Mean ADC Value = 2890.15 | Mean ADC Value = 2826.25 | Shake the cup with the sticks still in |  | ????
| Voltage = 2.91V | Voltage = 2.89V
| Water Level = 12.23ml | Water Level = 14.53ml
25 | Mean ADC Value = 2567.15 | Mean ADC Value = 2510.35 | Mix the soil and immediatley put in
| Voltage = 2.81V | Voltage = 2.80V
| Water Level = 23.84ml | Water Level = 25.89ml
30 | Mean ADC Value = 2280.60 | Mean ADC Value = 2213.85 | Better to take 2nd round of reading (1st beginning straight after starting)
| Voltage = 2.73V | Voltage = 2.71V
| Water Level = 34.14ml | Water Level = 36.54ml
35 | Mean ADC Value = 1847.25 | Mean ADC Value = 1967.05 | Kept getting 1.6k early on
| Voltage = 2.60V | Voltage = 2.63V
| Water Level = 49.72ml | Water Level = 45.41ml
40 | Mean ADC Value = 1715.75 | Mean ADC Value = 1780.15 | the grey cup needed to wait 3 rounds for the right reading, pink cup got it right away
| Voltage = 2.56V | Voltage = 2.58V
| Water Level = 54.45ml | Water Level = 52.13ml
45 | Mean ADC Value = 1386.65 | Mean ADC Value = 1712.25
| Voltage = 2.46V | Voltage = 2.56V
| Water Level = 66.28ml | Water Level = 54.57ml
50 | Mean ADC Value = 1527.50 | Mean ADC Value = 1579.05
| Voltage = 2.50V | Voltage = 2.52V
| Water Level = 61.21ml | Water Level = 59.36ml
55 | Mean ADC Value = 1447.25 | Mean ADC Value = 1458.30
| Voltage = 2.48V | Voltage = 2.48V
| Water Level = 64.10ml | Water Level = 63.70ml
60 | Mean ADC Value = 1390.75 | Mean ADC Value = 1363.40
| Voltage = 2.46V | Voltage = 2.45V
| Water Level = 66.13ml | Water Level = 67.11ml
65 | Mean ADC Value = 1360.55 | Mean ADC Value = 1296.15
| Voltage = 2.45V | Voltage = 2.43V
| Water Level = 67.21ml | Water Level = 69.53ml
70 | Mean ADC Value = 1149.10 | stopped after this for round 2
Voltage = 2.39V
Water Level = 74.81ml
75 | Mean ADC Value = 1080.45
Voltage = 2.37V
Water Level = 77.28ml
80 | Mean ADC Value = 892.40
Voltage = 2.31V
Water Level = 84.04ml
85 | Mean ADC Value = 816.70
Voltage = 2.29V
Water Level = 86.76ml
90 | Mean ADC Value = 749.60
Voltage = 2.27V
Water Level = 89.17ml
95 | Mean ADC Value = 647.30
Voltage = 2.24V
Water Level = 92.85ml
100 | Mean ADC Value = 523.00
Voltage = 2.20V
Water Level = 97.32ml

## 203 STM
Volume of Water | Cup 1 (grey) | Cup 2 (blue) | Mean ADC | Mean Voltage | Ideal
0 | 3507 | 3536.65 | 3521.825 | 3.2723 | 3500
5 | 3375.45 | 3399.95 | 3387.7 | 3.188 | 3351.5
10 | 3099.2 | 3257.15 | 3178.175 | 3.128 | 3203
15 | 2938.3 | 2995.75 | 2967.025 | 3.0397 | 3054.5
20 | 2790.1 | 2834.5 | 2812.3 | 2.9107 | 2906
25 | 2514 | 2485.1 | 2499.55 | 2.8387 | 2757.5
30 | 2148.4 | 2332.25 | 2240.325 | 2.7537 | 2609
35 | 1966.8 | 1938.55 | 1952.675 | 2.7267 | 2460.5
40 | 1789.65 | 1830.1 | 1809.875 | 2.6317 | 2312
45 | 1673.25 | 1614.7 | 1643.975 | 2.622 | 2163.5
50 | 1571.9 | 1555.8 | 1563.85 | 2.5827 | 2015
55 | 1476.9 | 1419.1 | 1448 | 2.4717 | 1866.5
60 | 1413.85 | 1306.9 | 1360.375 | 2.5457 | 1718
65 | 1377.45 | 1339.3 | 1358.375 | 2.492 | 1569.5
70 | 1309.2 | 1254.4 | 1281.8 | 2.449 | 1421
75 | 1211.6 | 1104.5 | 1158.05 | 2.3653 | 1272.5
80 | 965.95 | 1006.5 | 986.225 | 2.3667 | 1124
85 | 964.4 | 926.9 | 945.65 | 2.3547 | 975.5
90 | 897.3 | 836.9 | 867.1 | 2.372 | 827
95 | 876.75 | 813.6 | 845.175 | 2.355 | 678.5
100 | 807.8 | 792.75 | 800.275 | 2.3363 | 530
R² for Linear Model: 0.9376
R² for Quadratic Model: 0.9921
R² for Cubic Model: 0.9923

## Sheet1
Leticias test (not valid) |  | 20/3/test in 9306 (scrapped |  |  | 20/3/test in 9306 (scrapped
2 pucks |  | 2 pucks |  |  | 2 pucks
|  |  | Blue | Grey |  | Grey | Blue
Dry | ADC Value = 2036 ADC Value = 2036 ADC Value = 2040 ADC Value = 2042 ADC Value = 2042 ADC Value = 2042 ADC Value = 2040 ADC Value = 2040 ADC Value = 2040 ADC Value = 2040 ADC Value = 2040 ADC Value = 2042 ADC Value = 2042 ADC Value = 2039 ADC Value = 2038 ADC Value = 2039 ADC Value = 2040 ADC Value = 2040 ADC Value = 2042 ADC Value = 2040 ADC Value = 2040 ADC Value = 2040 Mean Value = 2142.20 | Dry | ADC Value = 2038 ADC Value = 2043 ADC Value = 2041 ADC Value = 2046 ADC Value = 2040 ADC Value = 2042 ADC Value = 2036 ADC Value = 2046 ADC Value = 2046 ADC Value = 2042 ADC Value = 2042 ADC Value = 2042 ADC Value = 2042 ADC Value = 2043 ADC Value = 2042 ADC Value = 2046 ADC Value = 2046 ADC Value = 2043 ADC Value = 2042 ADC Value = 2043 ADC Value = 2042 ADC Value = 2044 Mean Value = 2144.95 | ADC Value = 2043 ADC Value = 2040 ADC Value = 2043 ADC Value = 2044 ADC Value = 2044 ADC Value = 2046 ADC Value = 2043 ADC Value = 2052 ADC Value = 2038 ADC Value = 2043 ADC Value = 2044 ADC Value = 2048 ADC Value = 2048 ADC Value = 2046 ADC Value = 2043 ADC Value = 2047 ADC Value = 2042 ADC Value = 2044 ADC Value = 2046 ADC Value = 2046 ADC Value = 2046 ADC Value = 2040 Mean Value = 2146.65 | Dry | ADC Value = 3482 ADC Value = 3488 ADC Value = 3522 ADC Value = 3482 ADC Value = 3523 ADC Value = 3566 ADC Value = 3498 ADC Value = 3472 ADC Value = 3464 ADC Value = 3549 ADC Value = 3506 ADC Value = 3496 ADC Value = 3536 ADC Value = 3478 ADC Value = 3466 ADC Value = 3481 ADC Value = 3517 ADC Value = 3523 ADC Value = 3491 ADC Value = 3541 Mean Value = 3507.00 | ADC Value = 3482 ADC Value = 3581 ADC Value = 3522 ADC Value = 3494 ADC Value = 3497 ADC Value = 3516 ADC Value = 3562 ADC Value = 3510 ADC Value = 3542 ADC Value = 3554 ADC Value = 3488 ADC Value = 3578 ADC Value = 3563 ADC Value = 3497 ADC Value = 3488 ADC Value = 3554 ADC Value = 3531 ADC Value = 3550 ADC Value = 3590 ADC Value = 3558 Mean Value = 3536.65
[5 empty] | 5ml | ADC Value = 3434 ADC Value = 3472 ADC Value = 3423 ADC Value = 3314 ADC Value = 3354 ADC Value = 3413 ADC Value = 3352 ADC Value = 3312 ADC Value = 3440 ADC Value = 3348 ADC Value = 3336 ADC Value = 3347 ADC Value = 3420 ADC Value = 3323 ADC Value = 3391 ADC Value = 3440 ADC Value = 3394 ADC Value = 3330 ADC Value = 3346 ADC Value = 3377 Mean Value = 3375.45 | ADC Value = 3386 ADC Value = 3411 ADC Value = 3418 ADC Value = 3386 ADC Value = 3352 ADC Value = 3408 ADC Value = 3363 ADC Value = 3474 ADC Value = 3388 ADC Value = 3478 ADC Value = 3347 ADC Value = 3341 ADC Value = 3386 ADC Value = 3404 ADC Value = 3428 ADC Value = 3425 ADC Value = 3490 ADC Value = 3460 ADC Value = 3336 ADC Value = 3352 Mean Value = 3399.95
10ml water | ADC Value = 1936 ADC Value = 1937 ADC Value = 1941 ADC Value = 1942 ADC Value = 1944 ADC Value = 1940 ADC Value = 1942 ADC Value = 1940 ADC Value = 1941 ADC Value = 1942 ADC Value = 1944 ADC Value = 1942 ADC Value = 1942 ADC Value = 1940 ADC Value = 1940 ADC Value = 1939 ADC Value = 1942 ADC Value = 1942 ADC Value = 1942 ADC Value = 1941 ADC Value = 1941 ADC Value = 1942 Mean Value = 2038.30 | 10ml water | ADC Value = 2008 ADC Value = 2006 ADC Value = 2008 ADC Value = 2010 ADC Value = 2008 ADC Value = 2009 ADC Value = 2014 ADC Value = 2011 ADC Value = 2012 ADC Value = 2009 ADC Value = 2010 ADC Value = 2015 ADC Value = 2008 ADC Value = 2009 ADC Value = 2010 ADC Value = 2014 ADC Value = 2010 ADC Value = 2008 ADC Value = 2012 ADC Value = 2016 ADC Value = 2008 ADC Value = 2008 Mean Value = 2110.75 | ADC Value = 1995 ADC Value = 1994 ADC Value = 1994 ADC Value = 1998 ADC Value = 1993 ADC Value = 1995 ADC Value = 1997 ADC Value = 1998 ADC Value = 1995 ADC Value = 1992 ADC Value = 1995 ADC Value = 1994 ADC Value = 1993 ADC Value = 1996 ADC Value = 1995 ADC Value = 1998 ADC Value = 1996 ADC Value = 1998 ADC Value = 1996 ADC Value = 1998 ADC Value = 1994 ADC Value = 1996 Mean Value = 2095.25 | 10ml water | ADC Value = 3120 ADC Value = 3130 ADC Value = 3135 ADC Value = 3032 ADC Value = 3054 ADC Value = 3188 ADC Value = 3090 ADC Value = 3059 ADC Value = 3106 ADC Value = 3069 ADC Value = 3034 ADC Value = 3146 ADC Value = 3073 ADC Value = 3109 ADC Value = 3028 ADC Value = 3032 ADC Value = 3127 ADC Value = 3067 ADC Value = 3177 ADC Value = 3164 Mean Value = 3099.20 | ADC Value = 3250 ADC Value = 3298 ADC Value = 3234 ADC Value = 3203 ADC Value = 3234 ADC Value = 3280 ADC Value = 3334 ADC Value = 3262 ADC Value = 3176 ADC Value = 3215 ADC Value = 3235 ADC Value = 3258 ADC Value = 3232 ADC Value = 3342 ADC Value = 3190 ADC Value = 3224 ADC Value = 3214 ADC Value = 3226 ADC Value = 3214 ADC Value = 3386 Mean Value = 3257.15
15 | ADC Value = 1876 ADC Value = 1872 ADC Value = 1878 ADC Value = 1878 ADC Value = 1877 ADC Value = 1878 ADC Value = 1880 ADC Value = 1880 ADC Value = 1879 ADC Value = 1879 ADC Value = 1880 ADC Value = 1880 ADC Value = 1881 ADC Value = 1881 ADC Value = 1880 ADC Value = 1880 ADC Value = 1878 ADC Value = 1880 ADC Value = 1880 ADC Value = 1880 ADC Value = 1882 ADC Value = 1880 Mean Value = 1973.15 | 15 | ADC Value = 1925 ADC Value = 1924 ADC Value = 1927 ADC Value = 1930 ADC Value = 1934 ADC Value = 1931 ADC Value = 1928 ADC Value = 1928 ADC Value = 1928 ADC Value = 1931 ADC Value = 1932 ADC Value = 1930 ADC Value = 1930 ADC Value = 1928 ADC Value = 1931 ADC Value = 1930 ADC Value = 1930 ADC Value = 1929 ADC Value = 1931 ADC Value = 1927 ADC Value = 1926 ADC Value = 1926 Mean Value = 2025.55 | ADC Value = 1926 ADC Value = 1928 ADC Value = 1930 ADC Value = 1934 ADC Value = 1930 ADC Value = 1931 ADC Value = 1926 ADC Value = 1932 ADC Value = 1930 ADC Value = 1930 ADC Value = 1930 ADC Value = 1930 ADC Value = 1930 ADC Value = 1934 ADC Value = 1930 ADC Value = 1933 ADC Value = 1931 ADC Value = 1930 ADC Value = 1930 ADC Value = 1926 ADC Value = 1931 ADC Value = 1932 Mean Value = 2026.90 | 15 | ADC Value = 2918 ADC Value = 2992 ADC Value = 2896 ADC Value = 2968 ADC Value = 2970 ADC Value = 2978 ADC Value = 2842 ADC Value = 2900 ADC Value = 2864 ADC Value = 2998 ADC Value = 2950 ADC Value = 2987 ADC Value = 2998 ADC Value = 2954 ADC Value = 2896 ADC Value = 2922 ADC Value = 2950 ADC Value = 2883 ADC Value = 2926 ADC Value = 2946 Mean Value = 2938.30 | ADC Value = 3050 ADC Value = 2980 ADC Value = 2974 ADC Value = 2954 ADC Value = 3038 ADC Value = 3061 ADC Value = 3034 ADC Value = 2962 ADC Value = 2992 ADC Value = 2958 ADC Value = 2974 ADC Value = 3009 ADC Value = 2952 ADC Value = 3017 ADC Value = 3034 ADC Value = 2980 ADC Value = 2942 ADC Value = 2978 ADC Value = 3024 ADC Value = 3026 Mean Value = 2995.75
20 | ADC Value = 1809 ADC Value = 1808 ADC Value = 1812 ADC Value = 1813 ADC Value = 1814 ADC Value = 1814 ADC Value = 1814 ADC Value = 1811 ADC Value = 1813 ADC Value = 1814 ADC Value = 1812 ADC Value = 1814 ADC Value = 1814 ADC Value = 1816 ADC Value = 1814 ADC Value = 1813 ADC Value = 1816 ADC Value = 1816 ADC Value = 1816 ADC Value = 1816 ADC Value = 1816 ADC Value = 1817 Mean Value = 1904.65 | 20 | ADC Value = 1899 ADC Value = 1904 ADC Value = 1904 ADC Value = 1904 ADC Value = 1902 ADC Value = 1905 ADC Value = 1905 ADC Value = 1904 ADC Value = 1904 ADC Value = 1904 ADC Value = 1906 ADC Value = 1901 ADC Value = 1904 ADC Value = 1908 ADC Value = 1908 ADC Value = 1906 ADC Value = 1904 ADC Value = 1903 ADC Value = 1906 ADC Value = 1904 Mean Value = 1809.30 | ADC Value = 1878 ADC Value = 1874 ADC Value = 1880 ADC Value = 1878 ADC Value = 1879 ADC Value = 1879 ADC Value = 1882 ADC Value = 1880 ADC Value = 1882 ADC Value = 1880 ADC Value = 1878 ADC Value = 1873 ADC Value = 1878 ADC Value = 1885 ADC Value = 1883 ADC Value = 1880 ADC Value = 1880 ADC Value = 1880 ADC Value = 1878 ADC Value = 1882 Mean Value = 1879.65 | 20 | ADC Value = 2782 ADC Value = 2818 ADC Value = 2790 ADC Value = 2816 ADC Value = 2858 ADC Value = 2747 ADC Value = 2806 ADC Value = 2766 ADC Value = 2800 ADC Value = 2818 ADC Value = 2760 ADC Value = 2822 ADC Value = 2755 ADC Value = 2780 ADC Value = 2776 ADC Value = 2790 ADC Value = 2752 ADC Value = 2774 ADC Value = 2790 ADC Value = 2792 Mean Value = 2790.10 | ADC Value = 2779 ADC Value = 2866 ADC Value = 2795 ADC Value = 2810 ADC Value = 2834 ADC Value = 2790 ADC Value = 2844 ADC Value = 2866 ADC Value = 2768 ADC Value = 2802 ADC Value = 2838 ADC Value = 2885 ADC Value = 2848 ADC Value = 2896 ADC Value = 2881 ADC Value = 2760 ADC Value = 2830 ADC Value = 2838 ADC Value = 2839 ADC Value = 2850 Mean Value = 2834.50
25 | ADC Value = 1715 ADC Value = 1721 ADC Value = 1726 ADC Value = 1726 ADC Value = 1726 ADC Value = 1727 ADC Value = 1728 ADC Value = 1730 ADC Value = 1728 ADC Value = 1720 ADC Value = 1725 ADC Value = 1730 ADC Value = 1731 ADC Value = 1732 ADC Value = 1732 ADC Value = 1734 ADC Value = 1735 ADC Value = 1736 ADC Value = 1734 ADC Value = 1722 ADC Value = 1732 ADC Value = 1736 Mean Value = 1815.55 | 25 | ADC Value = 1822 ADC Value = 1824 ADC Value = 1826 ADC Value = 1824 ADC Value = 1826 ADC Value = 1826 ADC Value = 1826 ADC Value = 1826 ADC Value = 1826 ADC Value = 1826 ADC Value = 1824 ADC Value = 1826 ADC Value = 1827 ADC Value = 1830 ADC Value = 1826 ADC Value = 1826 ADC Value = 1826 ADC Value = 1826 ADC Value = 1827 ADC Value = 1824 Mean Value = 1825.80 | ADC Value = 1867 ADC Value = 1864 ADC Value = 1870 ADC Value = 1871 ADC Value = 1869 ADC Value = 1865 ADC Value = 1869 ADC Value = 1874 ADC Value = 1874 ADC Value = 1868 ADC Value = 1872 ADC Value = 1872 ADC Value = 1866 ADC Value = 1866 ADC Value = 1874 ADC Value = 1878 ADC Value = 1872 ADC Value = 1870 ADC Value = 1875 ADC Value = 1868 Mean Value = 1870.25 | 25 | ADC Value = 2580 ADC Value = 2491 ADC Value = 2527 ADC Value = 2587 ADC Value = 2473 ADC Value = 2504 ADC Value = 2493 ADC Value = 2540 ADC Value = 2504 ADC Value = 2554 ADC Value = 2542 ADC Value = 2508 ADC Value = 2512 ADC Value = 2494 ADC Value = 2514 ADC Value = 2502 ADC Value = 2571 ADC Value = 2526 ADC Value = 2450 ADC Value = 2494 Mean Value = 2514.00 | ADC Value = 2512 ADC Value = 2512 ADC Value = 2458 ADC Value = 2476 ADC Value = 2432 ADC Value = 2510 ADC Value = 2562 ADC Value = 2510 ADC Value = 2434 ADC Value = 2460 ADC Value = 2462 ADC Value = 2450 ADC Value = 2502 ADC Value = 2518 ADC Value = 2456 ADC Value = 2432 ADC Value = 2474 ADC Value = 2436 ADC Value = 2498 ADC Value = 2560 Mean Value = 2485.10
30 | ADC Value = 1632 ADC Value = 1634 ADC Value = 1642 ADC Value = 1642 ADC Value = 1642 ADC Value = 1644 ADC Value = 1644 ADC Value = 1645 ADC Value = 1646 ADC Value = 1648 ADC Value = 1648 ADC Value = 1650 ADC Value = 1650 ADC Value = 1652 ADC Value = 1654 ADC Value = 1653 ADC Value = 1656 ADC Value = 1654 ADC Value = 1656 ADC Value = 1656 ADC Value = 1658 ADC Value = 1658 Mean Value = 1731.60 | 30 |  |  | 30 | ADC Value = 2138 ADC Value = 2114 ADC Value = 2106 ADC Value = 2148 ADC Value = 2162 ADC Value = 2143 ADC Value = 2208 ADC Value = 2074 ADC Value = 2099 ADC Value = 2178 ADC Value = 2137 ADC Value = 2122 ADC Value = 2228 ADC Value = 2166 ADC Value = 2122 ADC Value = 2187 ADC Value = 2183 ADC Value = 2141 ADC Value = 2162 ADC Value = 2144 Mean Value = 2148.40 | ADC Value = 2358 ADC Value = 2362 ADC Value = 2250 ADC Value = 2323 ADC Value = 2354 ADC Value = 2306 ADC Value = 2378 ADC Value = 2306 ADC Value = 2327 ADC Value = 2321 ADC Value = 2280 ADC Value = 2282 ADC Value = 2355 ADC Value = 2419 ADC Value = 2358 ADC Value = 2280 ADC Value = 2292 ADC Value = 2364 ADC Value = 2376 ADC Value = 2356 Mean Value = 2332.25
35 | ADC Value = 1587 ADC Value = 1591 ADC Value = 1598 ADC Value = 1599 ADC Value = 1601 ADC Value = 1599 ADC Value = 1600 ADC Value = 1601 ADC Value = 1602 ADC Value = 1603 ADC Value = 1603 ADC Value = 1606 ADC Value = 1606 ADC Value = 1606 ADC Value = 1606 ADC Value = 1608 ADC Value = 1608 ADC Value = 1610 ADC Value = 1610 ADC Value = 1614 ADC Value = 1611 ADC Value = 1614 Mean Value = 1684.80 | 35 |  |  | 35 | ADC Value = 1970 ADC Value = 1994 ADC Value = 1982 ADC Value = 1963 ADC Value = 2009 ADC Value = 2019 ADC Value = 1994 ADC Value = 1932 ADC Value = 1926 ADC Value = 1942 ADC Value = 2006 ADC Value = 1963 ADC Value = 1928 ADC Value = 1998 ADC Value = 1946 ADC Value = 1975 ADC Value = 2011 ADC Value = 1899 ADC Value = 1939 ADC Value = 1955 Mean Value = 1966.80 | ADC Value = 1898 ADC Value = 1899 ADC Value = 1920 ADC Value = 1960 ADC Value = 1912 ADC Value = 1994 ADC Value = 1933 ADC Value = 1974 ADC Value = 1920 ADC Value = 1926 ADC Value = 1931 ADC Value = 1986 ADC Value = 1920 ADC Value = 1938 ADC Value = 1924 ADC Value = 1962 ADC Value = 1944 ADC Value = 1984 ADC Value = 1900 ADC Value = 1922 Mean Value = 1938.55
40 | ADC Value = 1522 ADC Value = 1526 ADC Value = 1532 ADC Value = 1534 ADC Value = 1534 ADC Value = 1537 ADC Value = 1537 ADC Value = 1540 ADC Value = 1541 ADC Value = 1540 ADC Value = 1540 ADC Value = 1541 ADC Value = 1544 ADC Value = 1544 ADC Value = 1546 ADC Value = 1546 ADC Value = 1547 ADC Value = 1546 ADC Value = 1546 ADC Value = 1548 ADC Value = 1550 ADC Value = 1550 Mean Value = 1618.45 | 40 |  |  | 40 | ADC Value = 1742 ADC Value = 1776 ADC Value = 1811 ADC Value = 1782 ADC Value = 1742 ADC Value = 1720 ADC Value = 1771 ADC Value = 1768 ADC Value = 1768 ADC Value = 1756 ADC Value = 1802 ADC Value = 1822 ADC Value = 1834 ADC Value = 1790 ADC Value = 1806 ADC Value = 1816 ADC Value = 1780 ADC Value = 1811 ADC Value = 1806 ADC Value = 1816 Mean Value = 1789.65 | ADC Value = 1774 ADC Value = 1828 ADC Value = 1862 ADC Value = 1798 ADC Value = 1840 ADC Value = 1864 ADC Value = 1835 ADC Value = 1800 ADC Value = 1786 ADC Value = 1870 ADC Value = 1866 ADC Value = 1800 ADC Value = 1851 ADC Value = 1849 ADC Value = 1804 ADC Value = 1840 ADC Value = 1800 ADC Value = 1826 ADC Value = 1855 ADC Value = 1814 Mean Value = 1830.10
45 | ADC Value = 1476 ADC Value = 1482 ADC Value = 1488 ADC Value = 1486 ADC Value = 1489 ADC Value = 1488 ADC Value = 1490 ADC Value = 1492 ADC Value = 1494 ADC Value = 1494 ADC Value = 1493 ADC Value = 1494 ADC Value = 1496 ADC Value = 1498 ADC Value = 1498 ADC Value = 1499 ADC Value = 1498 ADC Value = 1499 ADC Value = 1499 ADC Value = 1500 ADC Value = 1502 ADC Value = 1503 Mean Value = 1569.10 | 45 |  |  | 45 | ADC Value = 1690 ADC Value = 1712 ADC Value = 1644 ADC Value = 1672 ADC Value = 1706 ADC Value = 1641 ADC Value = 1680 ADC Value = 1684 ADC Value = 1683 ADC Value = 1682 ADC Value = 1634 ADC Value = 1670 ADC Value = 1647 ADC Value = 1669 ADC Value = 1704 ADC Value = 1663 ADC Value = 1753 ADC Value = 1701 ADC Value = 1624 ADC Value = 1648 Mean Value = 1673.25 | ADC Value = 1549 ADC Value = 1642 ADC Value = 1656 ADC Value = 1594 ADC Value = 1565 ADC Value = 1578 ADC Value = 1568 ADC Value = 1613 ADC Value = 1574 ADC Value = 1652 ADC Value = 1628 ADC Value = 1658 ADC Value = 1653 ADC Value = 1639 ADC Value = 1564 ADC Value = 1602 ADC Value = 1604 ADC Value = 1599 ADC Value = 1579 ADC Value = 1663 Mean Value = 1614.70
50 | ADC Value = 1498 ADC Value = 1504 ADC Value = 1510 ADC Value = 1512 ADC Value = 1511 ADC Value = 1514 ADC Value = 1513 ADC Value = 1514 ADC Value = 1514 ADC Value = 1518 ADC Value = 1515 ADC Value = 1518 ADC Value = 1519 ADC Value = 1520 ADC Value = 1520 ADC Value = 1522 ADC Value = 1520 ADC Value = 1522 ADC Value = 1521 ADC Value = 1523 ADC Value = 1525 ADC Value = 1526 Mean Value = 1593.05 | 50 |  |  | 50 | ADC Value = 1590 ADC Value = 1594 ADC Value = 1562 ADC Value = 1652 ADC Value = 1602 ADC Value = 1544 ADC Value = 1576 ADC Value = 1552 ADC Value = 1547 ADC Value = 1556 ADC Value = 1584 ADC Value = 1558 ADC Value = 1550 ADC Value = 1558 ADC Value = 1628 ADC Value = 1605 ADC Value = 1562 ADC Value = 1516 ADC Value = 1548 ADC Value = 1572 Mean Value = 1571.90 | ADC Value = 1618 ADC Value = 1522 ADC Value = 1582 ADC Value = 1594 ADC Value = 1592 ADC Value = 1590 ADC Value = 1488 ADC Value = 1554 ADC Value = 1550 ADC Value = 1514 ADC Value = 1586 ADC Value = 1602 ADC Value = 1520 ADC Value = 1554 ADC Value = 1580 ADC Value = 1560 ADC Value = 1548 ADC Value = 1530 ADC Value = 1510 ADC Value = 1570 Mean Value = 1555.80
55 | ADC Value = 1436 ADC Value = 1438 ADC Value = 1444 ADC Value = 1446 ADC Value = 1448 ADC Value = 1450 ADC Value = 1450 ADC Value = 1450 ADC Value = 1451 ADC Value = 1454 ADC Value = 1452 ADC Value = 1453 ADC Value = 1454 ADC Value = 1455 ADC Value = 1458 ADC Value = 1458 ADC Value = 1458 ADC Value = 1458 ADC Value = 1458 ADC Value = 1459 ADC Value = 1460 ADC Value = 1462 Mean Value = 1525.80 | 55 |  |  | 55 | ADC Value = 1414 ADC Value = 1441 ADC Value = 1453 ADC Value = 1456 ADC Value = 1506 ADC Value = 1438 ADC Value = 1443 ADC Value = 1515 ADC Value = 1510 ADC Value = 1489 ADC Value = 1506 ADC Value = 1451 ADC Value = 1451 ADC Value = 1460 ADC Value = 1513 ADC Value = 1467 ADC Value = 1447 ADC Value = 1490 ADC Value = 1498 ADC Value = 1502 Mean Value = 1476.90 | ADC Value = 1430 ADC Value = 1403 ADC Value = 1445 ADC Value = 1372 ADC Value = 1404 ADC Value = 1395 ADC Value = 1496 ADC Value = 1456 ADC Value = 1355 ADC Value = 1394 ADC Value = 1464 ADC Value = 1455 ADC Value = 1362 ADC Value = 1440 ADC Value = 1416 ADC Value = 1391 ADC Value = 1416 ADC Value = 1451 ADC Value = 1415 ADC Value = 1426 Mean Value = 1419.10
60 | ADC Value = 1464 ADC Value = 1465 ADC Value = 1471 ADC Value = 1471 ADC Value = 1474 ADC Value = 1475 ADC Value = 1475 ADC Value = 1475 ADC Value = 1475 ADC Value = 1478 ADC Value = 1477 ADC Value = 1479 ADC Value = 1480 ADC Value = 1482 ADC Value = 1480 ADC Value = 1482 ADC Value = 1483 ADC Value = 1484 ADC Value = 1484 ADC Value = 1485 ADC Value = 1486 ADC Value = 1486 Mean Value = 1552.35 | 60 |  |  | 60 | ADC Value = 1435 ADC Value = 1376 ADC Value = 1390 ADC Value = 1386 ADC Value = 1391 ADC Value = 1374 ADC Value = 1406 ADC Value = 1436 ADC Value = 1385 ADC Value = 1398 ADC Value = 1397 ADC Value = 1434 ADC Value = 1394 ADC Value = 1432 ADC Value = 1448 ADC Value = 1426 ADC Value = 1414 ADC Value = 1404 ADC Value = 1446 ADC Value = 1470 Mean Value = 1413.85 | ADC Value = 1254 ADC Value = 1282 ADC Value = 1276 ADC Value = 1299 ADC Value = 1290 ADC Value = 1314 ADC Value = 1338 ADC Value = 1250 ADC Value = 1302 ADC Value = 1314 ADC Value = 1319 ADC Value = 1312 ADC Value = 1322 ADC Value = 1280 ADC Value = 1284 ADC Value = 1267 ADC Value = 1273 ADC Value = 1282 ADC Value = 1328 ADC Value = 1403 Mean Value = 1306.90
65 | ADC Value = 1417 ADC Value = 1422 ADC Value = 1426 ADC Value = 1430 ADC Value = 1429 ADC Value = 1430 ADC Value = 1432 ADC Value = 1432 ADC Value = 1432 ADC Value = 1433 ADC Value = 1434 ADC Value = 1434 ADC Value = 1436 ADC Value = 1438 ADC Value = 1438 ADC Value = 1436 ADC Value = 1439 ADC Value = 1438 ADC Value = 1440 ADC Value = 1441 ADC Value = 1442 ADC Value = 1440 Mean Value = 1506.10 | 65 |  |  | 65 | ADC Value = 1328 ADC Value = 1357 ADC Value = 1342 ADC Value = 1394 ADC Value = 1368 ADC Value = 1374 ADC Value = 1384 ADC Value = 1391 ADC Value = 1395 ADC Value = 1357 ADC Value = 1322 ADC Value = 1340 ADC Value = 1342 ADC Value = 1398 ADC Value = 1360 ADC Value = 1349 ADC Value = 1418 ADC Value = 1438 ADC Value = 1416 ADC Value = 1402 Mean Value = 1377.45 | ADC Value = 1246 ADC Value = 1314 ADC Value = 1284 ADC Value = 1296 ADC Value = 1339 ADC Value = 1350 ADC Value = 1310 ADC Value = 1339 ADC Value = 1343 ADC Value = 1314 ADC Value = 1301 ADC Value = 1308 ADC Value = 1350 ADC Value = 1378 ADC Value = 1318 ADC Value = 1390 ADC Value = 1386 ADC Value = 1404 ADC Value = 1376 ADC Value = 1343 Mean Value = 1339.30
70 | ADC Value = 1387 ADC Value = 1392 ADC Value = 1398 ADC Value = 1396 ADC Value = 1400 ADC Value = 1398 ADC Value = 1400 ADC Value = 1397 ADC Value = 1400 ADC Value = 1400 ADC Value = 1400 ADC Value = 1402 ADC Value = 1402 ADC Value = 1401 ADC Value = 1402 ADC Value = 1402 ADC Value = 1403 ADC Value = 1403 ADC Value = 1404 ADC Value = 1406 ADC Value = 1406 ADC Value = 1406 Mean Value = 1470.90 | 70 |  |  | 70 | ADC Value = 1258 ADC Value = 1290 ADC Value = 1303 ADC Value = 1246 ADC Value = 1291 ADC Value = 1277 ADC Value = 1307 ADC Value = 1283 ADC Value = 1374 ADC Value = 1329 ADC Value = 1338 ADC Value = 1267 ADC Value = 1307 ADC Value = 1286 ADC Value = 1348 ADC Value = 1290 ADC Value = 1346 ADC Value = 1368 ADC Value = 1378 ADC Value = 1278 Mean Value = 1309.20 | ADC Value = 1209 ADC Value = 1235 ADC Value = 1251 ADC Value = 1219 ADC Value = 1211 ADC Value = 1266 ADC Value = 1272 ADC Value = 1229 ADC Value = 1208 ADC Value = 1186 ADC Value = 1244 ADC Value = 1256 ADC Value = 1258 ADC Value = 1293 ADC Value = 1316 ADC Value = 1263 ADC Value = 1272 ADC Value = 1259 ADC Value = 1236 ADC Value = 1307 Mean Value = 1254.40
75 | ADC Value = 1382 ADC Value = 1386 ADC Value = 1391 ADC Value = 1392 ADC Value = 1392 ADC Value = 1392 ADC Value = 1393 ADC Value = 1393 ADC Value = 1394 ADC Value = 1394 ADC Value = 1397 ADC Value = 1398 ADC Value = 1398 ADC Value = 1397 ADC Value = 1397 ADC Value = 1400 ADC Value = 1400 ADC Value = 1400 ADC Value = 1402 ADC Value = 1403 ADC Value = 1401 ADC Value = 1400 Mean Value = 1466.00 | 75 |  |  | 75 | ADC Value = 1242 ADC Value = 1200 ADC Value = 1158 ADC Value = 1250 ADC Value = 1226 ADC Value = 1215 ADC Value = 1118 ADC Value = 1179 ADC Value = 1222 ADC Value = 1246 ADC Value = 1232 ADC Value = 1200 ADC Value = 1254 ADC Value = 1236 ADC Value = 1196 ADC Value = 1201 ADC Value = 1194 ADC Value = 1167 ADC Value = 1270 ADC Value = 1234 Mean Value = 1211.60 | ADC Value = 1094 ADC Value = 1038 ADC Value = 1068 ADC Value = 1140 ADC Value = 1113 ADC Value = 1103 ADC Value = 1059 ADC Value = 1078 ADC Value = 1087 ADC Value = 1118 ADC Value = 1078 ADC Value = 1116 ADC Value = 1112 ADC Value = 1090 ADC Value = 1060 ADC Value = 1096 ADC Value = 1136 ADC Value = 1120 ADC Value = 1122 ADC Value = 1178 Mean Value = 1104.50
80 | ADC Value = 1380 ADC Value = 1381 ADC Value = 1390 ADC Value = 1390 ADC Value = 1390 ADC Value = 1390 ADC Value = 1390 ADC Value = 1389 ADC Value = 1392 ADC Value = 1393 ADC Value = 1394 ADC Value = 1394 ADC Value = 1396 ADC Value = 1395 ADC Value = 1395 ADC Value = 1396 ADC Value = 1396 ADC Value = 1398 ADC Value = 1398 ADC Value = 1399 ADC Value = 1397 ADC Value = 1399 Mean Value = 1463.10 | 80 |  |  | 80 | ADC Value = 999 ADC Value = 954 ADC Value = 977 ADC Value = 923 ADC Value = 946 ADC Value = 944 ADC Value = 936 ADC Value = 986 ADC Value = 1012 ADC Value = 946 ADC Value = 975 ADC Value = 1010 ADC Value = 1019 ADC Value = 932 ADC Value = 926 ADC Value = 958 ADC Value = 951 ADC Value = 951 ADC Value = 999 ADC Value = 987 Mean Value = 965.95 | ADC Value = 990 ADC Value = 965 ADC Value = 1002 ADC Value = 1050 ADC Value = 1006 ADC Value = 967 ADC Value = 954 ADC Value = 974 ADC Value = 1016 ADC Value = 984 ADC Value = 1018 ADC Value = 1046 ADC Value = 1024 ADC Value = 1030 ADC Value = 1059 ADC Value = 990 ADC Value = 963 ADC Value = 998 ADC Value = 1042 ADC Value = 1021 Mean Value = 1006.50
85 | ADC Value = 1373 ADC Value = 1378 ADC Value = 1382 ADC Value = 1384 ADC Value = 1384 ADC Value = 1386 ADC Value = 1386 ADC Value = 1386 ADC Value = 1387 ADC Value = 1388 ADC Value = 1386 ADC Value = 1389 ADC Value = 1390 ADC Value = 1390 ADC Value = 1390 ADC Value = 1392 ADC Value = 1391 ADC Value = 1392 ADC Value = 1393 ADC Value = 1392 ADC Value = 1394 ADC Value = 1394 Mean Value = 1457.70 | 85 |  |  | 85 | ADC Value = 897 ADC Value = 981 ADC Value = 916 ADC Value = 975 ADC Value = 978 ADC Value = 948 ADC Value = 976 ADC Value = 920 ADC Value = 932 ADC Value = 984 ADC Value = 974 ADC Value = 974 ADC Value = 1027 ADC Value = 958 ADC Value = 992 ADC Value = 955 ADC Value = 1004 ADC Value = 946 ADC Value = 956 ADC Value = 946 Mean Value = 964.40 | ADC Value = 886 ADC Value = 969 ADC Value = 866 ADC Value = 890 ADC Value = 910 ADC Value = 899 ADC Value = 927 ADC Value = 944 ADC Value = 947 ADC Value = 875 ADC Value = 913 ADC Value = 944 ADC Value = 923 ADC Value = 936 ADC Value = 926 ADC Value = 944 ADC Value = 943 ADC Value = 962 ADC Value = 928 ADC Value = 946 Mean Value = 926.90
90 | ADC Value = 1364 ADC Value = 1368 ADC Value = 1374 ADC Value = 1376 ADC Value = 1376 ADC Value = 1378 ADC Value = 1378 ADC Value = 1376 ADC Value = 1378 ADC Value = 1379 ADC Value = 1378 ADC Value = 1381 ADC Value = 1382 ADC Value = 1381 ADC Value = 1382 ADC Value = 1382 ADC Value = 1384 ADC Value = 1384 ADC Value = 1385 ADC Value = 1386 ADC Value = 1387 ADC Value = 1387 Mean Value = 1449.10 | 90 |  |  | 90 | ADC Value = 870 ADC Value = 882 ADC Value = 937 ADC Value = 859 ADC Value = 876 ADC Value = 966 ADC Value = 906 ADC Value = 875 ADC Value = 870 ADC Value = 870 ADC Value = 881 ADC Value = 929 ADC Value = 895 ADC Value = 931 ADC Value = 912 ADC Value = 842 ADC Value = 923 ADC Value = 939 ADC Value = 887 ADC Value = 883 Mean Value = 897.30 | ADC Value = 765 ADC Value = 863 ADC Value = 795 ADC Value = 843 ADC Value = 826 ADC Value = 783 ADC Value = 834 ADC Value = 921 ADC Value = 818 ADC Value = 826 ADC Value = 790 ADC Value = 800 ADC Value = 800 ADC Value = 870 ADC Value = 862 ADC Value = 807 ADC Value = 816 ADC Value = 870 ADC Value = 844 ADC Value = 885 Mean Value = 836.90
95 | ADC Value = 1354 ADC Value = 1358 ADC Value = 1366 ADC Value = 1365 ADC Value = 1367 ADC Value = 1370 ADC Value = 1368 ADC Value = 1370 ADC Value = 1370 ADC Value = 1372 ADC Value = 1371 ADC Value = 1371 ADC Value = 1362 ADC Value = 1354 ADC Value = 1354 ADC Value = 1356 ADC Value = 1358 ADC Value = 1360 ADC Value = 1363 ADC Value = 1362 ADC Value = 1363 ADC Value = 1364 Mean Value = 1432.20 | 95 |  |  | 95 | ADC Value = 943 ADC Value = 847 ADC Value = 934 ADC Value = 850 ADC Value = 902 ADC Value = 886 ADC Value = 842 ADC Value = 843 ADC Value = 864 ADC Value = 835 ADC Value = 890 ADC Value = 838 ADC Value = 897 ADC Value = 969 ADC Value = 924 ADC Value = 868 ADC Value = 866 ADC Value = 848 ADC Value = 862 ADC Value = 885 Mean Value = 876.75 | ADC Value = 763 ADC Value = 802 ADC Value = 813 ADC Value = 832 ADC Value = 784 ADC Value = 816 ADC Value = 824 ADC Value = 770 ADC Value = 780 ADC Value = 785 ADC Value = 774 ADC Value = 814 ADC Value = 850 ADC Value = 834 ADC Value = 843 ADC Value = 876 ADC Value = 814 ADC Value = 854 ADC Value = 803 ADC Value = 802 Mean Value = 813.60
100 | ADC Value = 1355 ADC Value = 1358 ADC Value = 1360 ADC Value = 1364 ADC Value = 1355 ADC Value = 1354 ADC Value = 1353 ADC Value = 1350 ADC Value = 1348 ADC Value = 1350 ADC Value = 1352 ADC Value = 1354 ADC Value = 1355 ADC Value = 1358 ADC Value = 1359 ADC Value = 1359 ADC Value = 1358 ADC Value = 1361 ADC Value = 1362 ADC Value = 1363 ADC Value = 1363 ADC Value = 1364 Mean Value = 1425.00 | 100 |  |  | 100 | ADC Value = 795 ADC Value = 786 ADC Value = 762 ADC Value = 774 ADC Value = 797 ADC Value = 815 ADC Value = 784 ADC Value = 843 ADC Value = 802 ADC Value = 785 ADC Value = 789 ADC Value = 788 ADC Value = 820 ADC Value = 800 ADC Value = 843 ADC Value = 865 ADC Value = 868 ADC Value = 862 ADC Value = 791 ADC Value = 791 Mean Value = 807.80 | ADC Value = 748 ADC Value = 827 ADC Value = 727 ADC Value = 834 ADC Value = 726 ADC Value = 770 ADC Value = 824 ADC Value = 736 ADC Value = 768 ADC Value = 748 ADC Value = 831 ADC Value = 802 ADC Value = 824 ADC Value = 841 ADC Value = 797 ADC Value = 831 ADC Value = 761 ADC Value = 765 ADC Value = 783 ADC Value = 830 Mean Value = 792.75
105 | ADC Value = 1350 ADC Value = 1338 ADC Value = 1334 ADC Value = 1338 ADC Value = 1338 ADC Value = 1340 ADC Value = 1340 ADC Value = 1342 ADC Value = 1343 ADC Value = 1345 ADC Value = 1347 ADC Value = 1348 ADC Value = 1349 ADC Value = 1350 ADC Value = 1348 ADC Value = 1350 ADC Value = 1352 ADC Value = 1352 ADC Value = 1360 ADC Value = 1356 ADC Value = 1355 ADC Value = 1356 Mean Value = 1414.05 | 105 |  |  | 105
110 | ADC Value = 1335 ADC Value = 1335 ADC Value = 1343 ADC Value = 1344 ADC Value = 1347 ADC Value = 1347 ADC Value = 1350 ADC Value = 1350 ADC Value = 1348 ADC Value = 1346 ADC Value = 1348 ADC Value = 1347 ADC Value = 1349 ADC Value = 1351 ADC Value = 1352 ADC Value = 1352 ADC Value = 1350 ADC Value = 1354 ADC Value = 1354 ADC Value = 1354 ADC Value = 1355 ADC Value = 1363 Mean Value = 1416.95 | 110 |  |  | 110

## 193 Calibration
volume of water (ml) | Vsig (1) | Vsig (2) | Vsig (3) | Mean | Difference |  | cup
0 | 3.266 | 3.276 | 3.275 | 3.2723 |  |  | pink = 1
5 | 3.18 | 3.188 | 3.196 | 3.188 | -0.084333 | -2.577% | blue = 2
10 | 3.142 | 3.111 | 3.131 | 3.128 | -0.06 | -1.882% | grey = 3
15 | 3.036 | 3.018 | 3.065 | 3.0397 | -0.088333 | -2.824%
20 | 2.905 | 2.865 | 2.962 | 2.9107 | -0.129 | -4.244%
25 | 2.846 | 2.828 | 2.842 | 2.8387 | -0.072 | -2.474%
30 | 2.781 | 2.715 | 2.765 | 2.7537 | -0.085 | -2.994%
35 | 2.714 | 2.717 | 2.749 | 2.7267 | -0.027 | -0.9805%
40 | 2.623 | 2.623 | 2.649 | 2.6317 | -0.095 | -3.484%
45 | 2.586 | 2.666 | 2.614 | 2.622 | -0.0096667 | -0.3673%
50 | 2.573 | 2.603 | 2.572 | 2.5827 | -0.039333 | -1.5%
55 | 2.462 | 2.493 | 2.46 | 2.4717 | -0.111 | -4.298%
60 | 2.572 | 2.54 | 2.525 | 2.5457 | 0.074 | 2.994%
65 | 2.492 | 2.492 | 2.492 | 2.492 | -0.053667 | -2.108%
70 | 2.492 | 2.44 | 2.415 | 2.449 | -0.043 | -1.726%
75 | 2.362 | 2.353 | 2.381 | 2.3653 | -0.083667 | -3.416%
80 | 2.386 | 2.379 | 2.335 | 2.3667 | 0.0013333 | 0.05637%
85 | 2.349 | 2.35 | 2.365 | 2.3547 | -0.012 | -0.507%
90 | 2.355 | 2.381 | 2.38 | 2.372 | 0.017333 | 0.7361%
95 | 2.357 | 2.349 | 2.359 | 2.355 | -0.017 | -0.7167%
100 | 2.333 | 2.34 | 2.336 | 2.3363 | -0.018667 | -0.7926%
Slope (gradient) | -0.0092404 | 3.1193 | Y-intercept
Standard error | 0.000656 | 0.038344 | Standard error value for the y-intercept
Coefficient of determination | 0.91261 | 0.091016 | Standard error for the y estimate
F statistic | 198.4186 | 19 | Number of degrees of freedom
Regression sum of squares | 1.6437 | 0.15739 | Residual sum of squares
| Your range | Divide by 2
(min) | 2.3363 | 1.1682
(max) | 3.2723 | 1.6362
Vin = [1.168, 1.636] to an output range of Vamp = [0.5, 3.0]
0.5 = m*1.1.168 + c 3.0 = m*1.636 + c
m = | 5.3419
c = | -5.7395
Vamp = 5.342*Vin - 5.740 |  | (Equation 4)
Assuming Rg >> R1¦¦R2, we can use the ratio of Rf/ Rg = m -1. Therefore, Rf/ Rg = 4.342
Rf | 44000 |  | R1 | 4920
Rg | 10000 |  | R2 | 3200
Rp | 10000 |  | R3 | 1 MΩ
|  |  | R4 | 1 MΩ
rf/rg | 4.4
r2/r1+r2 | 0.39528
r1/r2 (calculated) | 1.5298
r1/r2 (actual) | 1.5375

## data analysis
Leticias test | [22 empty] | outputted mean value | calculated mean | convert to Vin
2 pucks
Dry | 2036 | 2036 | 2040 | 2042 | 2042 | 2042 | 2040 | 2040 | 2040 | 2040 | 2040 | 2042 | 2042 | 2039 | 2038 | 2039 | 2040 | 2040 | 2042 | 2040 | 2040 | 2040 | 2142.2 | 2040 | 1.6436
10ml water | 1936 | 1937 | 1941 | 1942 | 1944 | 1940 | 1942 | 1940 | 1941 | 1942 | 1944 | 1942 | 1942 | 1940 | 1940 | 1939 | 1942 | 1942 | 1942 | 1941 | 1941 | 1942 | 2038.3 | 1941 | 1.5638
15 | 1876 | 1872 | 1878 | 1878 | 1877 | 1878 | 1880 | 1880 | 1879 | 1879 | 1880 | 1880 | 1881 | 1881 | 1880 | 1880 | 1878 | 1880 | 1880 | 1880 | 1882 | 1880 | 1973.15 | 1879.0455 | 1.5139
20 | 1809 | 1808 | 1812 | 1813 | 1814 | 1814 | 1814 | 1811 | 1813 | 1814 | 1812 | 1814 | 1814 | 1816 | 1814 | 1813 | 1816 | 1816 | 1816 | 1816 | 1816 | 1817 | 1904.65 | 1813.7273 | 1.4613
25 | 1715 | 1721 | 1726 | 1726 | 1726 | 1727 | 1728 | 1730 | 1728 | 1720 | 1725 | 1730 | 1731 | 1732 | 1732 | 1734 | 1735 | 1736 | 1734 | 1722 | 1732 | 1736 | 1815.55 | 1728.4545 | 1.3926
30 | 1632 | 1634 | 1642 | 1642 | 1642 | 1644 | 1644 | 1645 | 1646 | 1648 | 1648 | 1650 | 1650 | 1652 | 1654 | 1653 | 1656 | 1654 | 1656 | 1656 | 1658 | 1658 | 1731.6 | 1648.3636 | 1.328
35 | 1587 | 1591 | 1598 | 1599 | 1601 | 1599 | 1600 | 1601 | 1602 | 1603 | 1603 | 1606 | 1606 | 1606 | 1606 | 1608 | 1608 | 1610 | 1610 | 1614 | 1611 | 1614 | 1684.8 | 1603.7727 | 1.2921
40 | 1522 | 1526 | 1532 | 1534 | 1534 | 1537 | 1537 | 1540 | 1541 | 1540 | 1540 | 1541 | 1544 | 1544 | 1546 | 1546 | 1547 | 1546 | 1546 | 1548 | 1550 | 1550 | 1618.45 | 1540.5 | 1.2411
45 | 1476 | 1482 | 1488 | 1486 | 1489 | 1488 | 1490 | 1492 | 1494 | 1494 | 1493 | 1494 | 1496 | 1498 | 1498 | 1499 | 1498 | 1499 | 1499 | 1500 | 1502 | 1503 | 1569.1 | 1493.5455 | 1.2033
50 | 1498 | 1504 | 1510 | 1512 | 1511 | 1514 | 1513 | 1514 | 1514 | 1518 | 1515 | 1518 | 1519 | 1520 | 1520 | 1522 | 1520 | 1522 | 1521 | 1523 | 1525 | 1526 | 1593.05 | 1516.3182 | 1.2216
55 | 1436 | 1438 | 1444 | 1446 | 1448 | 1450 | 1450 | 1450 | 1451 | 1454 | 1452 | 1453 | 1454 | 1455 | 1458 | 1458 | 1458 | 1458 | 1458 | 1459 | 1460 | 1462 | 1525.8 | 1452.3636 | 1.1701
60 | 1464 | 1465 | 1471 | 1471 | 1474 | 1475 | 1475 | 1475 | 1475 | 1478 | 1477 | 1479 | 1480 | 1482 | 1480 | 1482 | 1483 | 1484 | 1484 | 1485 | 1486 | 1486 | 1552.35 | 1477.7727 | 1.1906
65 | 1417 | 1422 | 1426 | 1430 | 1429 | 1430 | 1432 | 1432 | 1432 | 1433 | 1434 | 1434 | 1436 | 1438 | 1438 | 1436 | 1439 | 1438 | 1440 | 1441 | 1442 | 1440 | 1506.1 | 1433.5909 | 1.155
70 | 1387 | 1392 | 1398 | 1396 | 1400 | 1398 | 1400 | 1397 | 1400 | 1400 | 1400 | 1402 | 1402 | 1401 | 1402 | 1402 | 1403 | 1403 | 1404 | 1406 | 1406 | 1406 | 1470.9 | 1400.2273 | 1.1281
75 | 1382 | 1386 | 1391 | 1392 | 1392 | 1392 | 1393 | 1393 | 1394 | 1394 | 1397 | 1398 | 1398 | 1397 | 1397 | 1400 | 1400 | 1400 | 1402 | 1403 | 1401 | 1400 | 1466 | 1395.5455 | 1.1243
80 | 1380 | 1381 | 1390 | 1390 | 1390 | 1390 | 1390 | 1389 | 1392 | 1393 | 1394 | 1394 | 1396 | 1395 | 1395 | 1396 | 1396 | 1398 | 1398 | 1399 | 1397 | 1399 | 1463.1 | 1392.8182 | 1.1221
85 | 1373 | 1378 | 1382 | 1384 | 1384 | 1386 | 1386 | 1386 | 1387 | 1388 | 1386 | 1389 | 1390 | 1390 | 1390 | 1392 | 1391 | 1392 | 1393 | 1392 | 1394 | 1394 | 1457.7 | 1387.5909 | 1.1179
90 | 1364 | 1368 | 1374 | 1376 | 1376 | 1378 | 1378 | 1376 | 1378 | 1379 | 1378 | 1381 | 1382 | 1381 | 1382 | 1382 | 1384 | 1384 | 1385 | 1386 | 1387 | 1387 | 1449.1 | 1379.3636 | 1.1113
95 | 1354 | 1358 | 1366 | 1365 | 1367 | 1370 | 1368 | 1370 | 1370 | 1372 | 1371 | 1371 | 1362 | 1354 | 1354 | 1356 | 1358 | 1360 | 1363 | 1362 | 1363 | 1364 | 1432.2 | 1363.5455 | 1.0986
100 | 1355 | 1358 | 1360 | 1364 | 1355 | 1354 | 1353 | 1350 | 1348 | 1350 | 1352 | 1354 | 1355 | 1358 | 1359 | 1359 | 1358 | 1361 | 1362 | 1363 | 1363 | 1364 | 1425 | 1357.0455 | 1.0933
105 | 1350 | 1338 | 1334 | 1338 | 1338 | 1340 | 1340 | 1342 | 1343 | 1345 | 1347 | 1348 | 1349 | 1350 | 1348 | 1350 | 1352 | 1352 | 1360 | 1356 | 1355 | 1356 | 1414.05 | 1346.8636 | 1.0851
110 | 1335 | 1335 | 1343 | 1344 | 1347 | 1347 | 1350 | 1350 | 1348 | 1346 | 1348 | 1347 | 1349 | 1351 | 1352 | 1352 | 1350 | 1354 | 1354 | 1354 | 1355 | 1363 | 1416.95 | 1348.8182 | 1.0867